Microwave mounting of slides

1. Float ribbons on autoclave water on 42C warming tray

2. Wait 2 to 3 min to let ribbon compression relax

3. Remove remaining water with kimwipe

4. Place slides in coplin jar (on its side) so that slides are flat, ribbon side up

5. Microwave at 43C for 30 minutes